## Pocket Water Floss (Model: XY12) — User Manual

### Product Overview

- Product Name: Pocket Water Floss

- Model: XY12

- Country of Origin: China

Important Notes Before Use: * Please read this manual carefully before using the product and keep it properly. * Children must use this product under parental supervision and guidance!

### Product Structure & Accessories

#### Main Device Structure

- Nozzle: The upper tip that directs water flow.

- Power Button: Turns the device on/off and switches modes.

- Device Body: The core motorized handle.

- Water Tank: The retractable reservoir at the bottom.

- Charging Port: Magnetic + Pogopin connection point.

- Water Inlet: The cap-covered opening used to fill water.

#### Box Accessories

- Nozzle x1

- Charging Cable x1

### Product Specifications

| Parameter | Specification |
| --- | --- |
| Charging Mode | Magnetic connection + Pogopin |
| Input Voltage | $5V \dots 2A$ |
| Rated Power | 10W |
| Charging Time | Approximately 2 hours ($\approx2H$) |
| Waterproof Grade | IPX7 |
| Net Weight | 150g |
| Product Size | $68.54 \times 39.81 \times 122.51 \text{ mm}$ |
| Packing Size | $130.00 \times 130.00 \times 55.00 \text{ mm}$ |

### How to Use Your Water Floss

- Preparation: Open the water injection cap and remove the stored nozzle.

- Assembly: Insert the nozzle into the socket and rotate it to lock it firmly in place.

- Expand Tank: Pull open / slide out the retractable water tank.

- Fill Water: Add water directly into the water injection port.

- Placement: Place the nozzle into your mouth before starting the device.

- Operation: * Long press for 0.5 seconds to power on.

  - Short press the button to cycle through the different modes.

- Post-use Cleaning: Turn off the power after use and pour out any remaining water.

- Emptying: Press the power button once more briefly to drain any leftover water completely from the internal system.

### Mode Specifications

You can select from 3 pressure settings by tapping the gear/mode button:

- Low Mode: Gentle water pressure meant for gentle cleaning. Ideal for sensitive teeth and first-time users.

- High Mode: Standard water pressure providing efficient cleaning. Best for regular daily cleaning for most users.

- Pulse Mode: Alternating strong and weak pressure designed for deep cleaning and gum massage.

Charging Indicator Status:

- While Charging: Flashing orange breath light.

- Fully Charged: Steady green light.

### Safety and Warning Guide

#### 🔴 Danger (Critical Safety Measures)

- Do not use this product in a hurry without understanding its full operational procedures to prevent accidental injury.

- Do not disassemble or modify internal components, as it will damage the device and void the warranty.

- Do not fill the tank with water hotter than 50°C to clean your mouth, as this causes severe burns.

- If the charging cable or adapter plug is visibly damaged, replace it immediately before using it again.

- Keep the device away from fire. Do not charge, use, or store it in ultra-high-temperature environments.

#### ⚠️ Warning (Usage Precautions)

- Do not use this device for any purpose other than oral cleaning.

- Do not press the nozzle hard against your gums or teeth to avoid causing physical gum injury.

- Do not submerge the main handle completely under water for extended periods of time to avoid internal component failure, short circuits, or fire hazards.

- Do not forcefully stretch, bend, twist, or place heavy objects onto the power cord. Keep the cord away from hot surfaces.

- Do not store the unit in highly humid locations or under direct sunlight.

- Avoid charging the device in highly humid rooms like active bathrooms or toilets.

- Unplug the charging cable if the device will sit idle for a long period of time.

- Do not charge near flammable or explosive materials.

- When the cable is disconnected from the flosser, do not let its magnetic end stick to other metal/conductive objects to prevent short circuits.

#### 💡 Look Out (User Notices & Gums Adaption)

- First-Time Use: You may experience light itching or slight bleeding when first using the device. This occurs because your gums are not yet accustomed to this high-efficiency cleaning method. It is recommended to use the Low/Gentle mode first. Bleeding should naturally stop within 1–2 weeks. If it persists past 2 weeks without improvement, stop usage and consult a dentist.

- Dental Conditions: If you have severe periodontal disease or have had oral surgery within the past 2 months, please consult a dentist before using this device.

- Service & Parts: This product does not contain user-serviceable or replaceable parts inside. If repair is required, return it to the manufacturer. Do not operate without a nozzle attached.

- Children & Storage: Keep out of reach of infants or unsupervised toddlers. This device must not be treated as a toy.

### Product Maintenance & Cleaning

- Nozzle Maintenance: Remove the nozzle, wash it thoroughly with fresh water, and wipe dry. Dentists recommend replacing the nozzle every 6 months. If the nozzle tip deforms, replace it immediately to prevent operation failures.

- Water Inlet Cap: Routinely wipe away accumulated dirt from the seal area to prevent future water leaks.

- Machine Body: Wipe off surface dirt with a cloth lightly dampened with liquid soap, then dry with a clean cloth. If it is heavily soiled, rinse it under the tap, but never use paint thinner, gasoline, or alcohol. Never wash with water hotter than 50°C. Wipe completely dry after rinsing.

- Water Tank: Clean the tank regularly. Unplug the water injection cover, slide the water tank completely off the main body, and clean its interior thoroughly.

### Troubleshooting / Fault Diagnosis

| Issue | Potential Cause | Solution |
| --- | --- | --- |
| Device won't work / Button does not respond | • Low Battery • Circuit Failure | • Charge the device • Contact customer after-sales service |
| Charging Indicator Light is off | • Cable is not properly attached magnetically • Dirt or oxidation layer on the magnetic pin surfaces | • Check connection to ensure power is running • Clean off any oxidation or dirt layer on the magnetic head surfaces |
| Low Water Pressure | • Damaged sprinkler/nozzle tip • Low Battery | • Replace the nozzle tip • Charge the device |
| Short battery life after full charge | • Insufficient charging time • Internal circuit fault | • Complete a full charge cycle ($\approx 2$ hours) • Contact customer after-sales service |